Appendix H

Vaccination Centre Action Card

| Role and Responsibility |  |  |  |
| --- | --- | --- | --- |
| The vaccinator in charge, is responsible, in hours, for the ________ site response to a large scale power outage. (Complete as appropriate for each site) Out of hours Lead to be identified at IMT |  |  |  |
|  | Action | Notes | Time/Date Completed |
| 1 | Receive notice of power outage, start a personal log – record key facts, communications, actions, etc. with date and times (24 hour format). |  |  |
| 2 | Gain as much information regarding the incident as possible and assess severity of what has happened, potential impacts and possible wider consequences and what is currently being done, and who is doing it. Scale – Duration – Impact | 3 minute brief document |  |
| 3 | Ensure you are aware of the site’s critical services/functions and ensure you aim to keep them valid | Lockdown vaccination centre and make arrangements to move stock |  |
| 4 | Stand down all non-clinical activity ASAP |  |  |
| 5 | Lockdown site/building ASAP |  |  |
| 6 | Ensure staff on site rendezvous point (RVP) is set up |  |  |
| 7 | Do a stock take -vaccines |  |  |
| 8 | Ensure Vaccines are moved to the agreed site maintaining the cold chain |  |  |
| 9 | Where possible turn off all non-essential power outlets/lights etc. to conserve energy |  |  |
| 10 | If/when possible send reports/sit rep to Public Health Control Room |  |  |
| 11 | Ensure appropriate incident record keeping. |  |  |
| 12 | Assess and plan staff/rotas for next 7 days to ensure adequate cover of critical activity e.g fridge check | Where stock remains fridge checks to be carried out |  |
| 13 | If safe to do so contact nearest location for the coordination of the response to vulnerable persons community hospitals /rest centres ? CET To decide |  |  |
| 14 | Identify considerations for the Recovery | - Legionnaires (if water stagnate for more than 7 days) - Data restoration - Vaccine safety and transfer back to vaccination site (consider if any stock needs to be quarantined) - Manage cancelled appointments/rebooking |  |
| 15 | Review the longer term effects of the incident and impacts of any measures that may be taken in response (debrief) |  |  |
| 16 | Ensure accuracy of the note of meeting and decision logs |  |  |